Open Chrom Perfect by double-clicking on the Chrom Perfect Icon

Open the Acquisition Window by clicking the Acquisition button

Claim the instrument by clicking the Claim button

Select the Status tab at the right of the screen

Open the Control Window by clicking the control icon

Inject 1 L of sample into the injection port and click the Start Run button

When the run is finished, click the Stop Run button

Minimize the Acquisition window

Open the Analysis window by clicking on Analysis

Maximize the windows

Select “Manual” under the Integration Menu

Click Add Peak on the Integ Option Window

Click and drag across the base line of a peak

Click Next

Select Close

Select Fixed Short Form from the Report Menu

Click the printer icon