## Slide 1
Chapter 3
Exploring Proteins and Proteomes
© 2019 W. H. Freeman and Company
Notes: Corresponding Chapters: 1, 2, 8, 9, 10

## Slide 2: CHAPTER 3 Exploring Proteins and Proteomes
Notes: Milk, a source of nourishment for all mammals, is composed, in part, of a variety of proteins. The protein components of milk are revealed by the technique of MALDI–TOF mass spectrometry, which separates molecules on the basis of their mass-to-charge ratio. [(Left) Okea/istockphoto.com. (Right) Courtesy of Dr. Brian Chait.]

## Slide 3: Ch.3 Learning Objectives
By the end of this chapter, you should be able to:
Explain the importance of protein purification and how it can be quantified.
Describe the different types of chromatography used to purify proteins.
Describe the different methods available for determining the mass of a protein.
Explain how antibodies can be used as tools for protein identification, purification, and quantitation.
Describe how proteins are sequenced, and explain why sequence determination is important.
Distinguish between the commonly used methods for protein structure determination, and describe the advantages and disadvantages of each.

## Slide 4: Ch.3 Outline
3.1 The Purification of Proteins Is an Essential First Step in Understanding Their Function
3.2 Immunology Provides Important Techniques with Which to Investigate Proteins
3.3 Mass Spectrometry Is a Powerful Technique for the Identification of Peptides and Proteins
3.4 Peptides Can Be Synthesized by Automated Solid-Phase Methods
3.5 Three-Dimensional Protein Structure Can Be Determined by X-ray Crystallography, NMR Spectroscopy, and Cryo-Electron Microscopy

## Slide 5: The Proteome is the Functional Representation of the Genome
The proteome is the entire set of proteins expressed and modified by a cell under a particular set of biochemical conditions.
Unlike the genome, the proteome is not an unvarying characteristic of the cell.

## Slide 6: Section 3.1 The Purification of Proteins Is an Essential First Step in Understanding Their Function
Proteins can be purified on the basis of differences in their chemical properties.
Protein purification requires a test, or assay, that determines whether the protein of interest is present.
  Example: an assay for the enzyme lactate dehydrogenase is based on the fact that a product of the reaction, NADH, can be detected spectrophotometrically.

## Slide 7: Proteins Must be Released from the Cell to be Purified
Intact cells are disrupted to form a homogenate, which is a mixture of all of the components of the cell.
The homogenate is then centrifuged at low speed to yield a pellet consisting of nuclei and a supernatant.
This supernatant is then centrifuged at a higher centrifugal force to yield another pellet and supernatant.
This process, called differential centrifugation, is repeated several more times to yield a series of pellets enriched in various cellular materials and a final supernatant, the soluble portion of the cytoplasm.

## Slide 8: Differential Centrifugation
Notes: FIGURE 3.1 Differential centrifugation. Cells are disrupted in a homogenizer, and the resulting mixture, called the homogenate, is centrifuged in a step-by-step fashion of increasing centrifugal force. The denser material will form a pellet at lower centrifugal force than will the less dense material. The isolated fractions can be used for further purification. [Photographs courtesy of Dr. S. Fleischer and Dr. B. Fleischer.]

## Slide 9: Salting Out and Dialysis
Salting out
  Salting out takes advantage of the fact that the solubility of proteins varies with the salt concentration.
  Most proteins require some salt to dissolve in water, a process called salting in. As the salt concentration is increased, different proteins will precipitate at different characteristic salt concentrations, a process called salting out.
Dialysis
  The salt can be removed from a protein solution by dialysis.
  The protein solution is placed in a cellophane bag with pores too small to allow the protein to diffuse but big enough to allow the salt to equilibrate with the solution surround the dialysis bag.
  This can also work for other small soluble contaminants.

## Slide 10: Dialysis
Notes: FIGURE 3.2 Dialysis. Protein molecules (red) are retained within the dialysis bag, whereas small molecules (blue) diffuse down their concentration gradient into the surrounding medium.

## Slide 11: Gel-filtration Chromatography (1/2)
Gel filtration chromatography, also known as molecular exclusion chromatography, allows the separation of proteins on the basis of size.
A glass column is filled with porous beads. When a protein solution is passed over the beads, large proteins cannot enter the beads and exit the column first.
Small proteins can enter the beads and thus have a longer path and exit the column last.

## Slide 12: Gel-filtration Chromatography (2/2)
Notes: FIGURE 3.3 Gel-filtration chromatography. A mixture of proteins in a small volume is applied to a column filled with porous beads. Because large proteins cannot enter the internal volume of the beads, they emerge sooner than do small ones.

## Slide 13: Ion-exchange Chromatography (1/2)
Ion exchange chromatography allows separation of proteins on the basis of charge. The beads in the column are made so as to have a charge.
When a mixture of proteins is passed through the column, proteins with the same charge as that on the column will exit the column quickly.
Proteins with the opposite charge will bind to the beads and are subsequently released by increasing the salt concentration or adjusting the pH of the buffer that is passed through the column.

## Slide 14: Ion-exchange Chromatography (2/2)
In cation exchange chromatography (pictured at left), the beads have negative charge
In anion exchange chromatography, the beads have positive charge
Notes: FIGURE 3.4 Ion-exchange chromatography. This technique separates proteins mainly according to their net charge.

## Slide 15: Affinity Chromatography (1/2)
Affinity chromatography takes advantage of the fact that some proteins have a high affinity for specific chemicals or chemical groups.
Beads are made with the specific chemical attached. A protein mixture is passed through the column, and only proteins with affinity for the attached group will be retained.
The bound protein is then released by passing a solution enriched in the chemical to which the protein is bound through the column.

## Slide 16: Affinity Chromatography (2/2)
Notes: FIGURE 3.5 Affinity chromatography. Affinity chromatography of concanavalin A (shown in yellow) on a solid support containing covalently attached glucose residues (G).

## Slide 17: High-performance Liquid Chromatography (1/2)
The resolving power of any chromatographic technique is related to the number of potential sites of interaction between the protein and the column beads.
Very fine beads allow more interactions and thus greater resolving power, but flow rates through such columns are slow.
High-performance liquid chromatography (HPLC) uses very fine beads in metal columns and high-pressure pumps to move the liquid through the column.
Because of the increased number of interaction sites, the resolving power of HPLC is greater than normal columns.

## Slide 18: High-performance Liquid Chromatography (2/2)
Notes: FIGURE 3.6 High-performance liquid chromatography (HPLC). Gel filtration by HPLC clearly defines the individual proteins because of its greater resolving power: (1) thyroglobulin (669 kDa ), (2) catalase (232 kDa ), (3) bovine serum albumin (67 kDa ), (4) ovalbumin (43 kDa ), and (5) ribonuclease (13.4 kDa ). [Data from K. J. Wilson and T. D. Schlabach. In Current Protocols in Molecular Biology, vol. 2, suppl. 41, F. M. Ausubel, R. Brent, R. E. Kingston, D. D. Moore, J. G. Seidman, J. A. Smith, and K. Struhl, Eds. (Wiley, 1998), p. 10.14.1.]

## Slide 19: Gel Electrophoresis (1/2)
Proteins will migrate in an electrical field with a velocity (v) directly proportional to electric field strength (E), the charge on the protein (z), and inversely proportional to the frictional coefficient ( f ).
v = Ez/f
The frictional coefficient is a function of the protein mass, shape, and radius (r) and the density of the medium ( η ).
    f = 6pηr
When the migration occurs in a gel, it is called gel electrophoresis.

## Slide 20: Gel Electrophoresis (2/2)
Sodium dodecyl sulfate-polyacrylamide gel electrophoresis (SDS-PAGE) allows accurate determination of mass.
SDS denatures proteins, and for most proteins, 1 molecule of SDS binds for every two amino acids.
Thus, proteins have the same charge-to-mass ratio and migrate in the gel on the basis of mass only.

## Slide 21: Polyacrylamide Gel Electrophoresis
Notes: FIGURE 3.7 Polyacrylamide gel electrophoresis. (A) Gel electrophoresis apparatus. Typically, several samples undergo electrophoresis on one flat polyacrylamide gel. A microliter pipette is used to place solutions of proteins in the wells of the slab. A cover is then placed over the gel chamber and voltage is applied. The negatively charged SDS (sodium dodecyl sulfate)–protein complexes migrate in the direction of the anode, at the bottom of the gel. (B) The sieving action of a porous polyacrylamide gel separates proteins according to size, with the smallest moving most rapidly.

## Slide 22: Formation of a Polyacrylamide Gel
Notes: FIGURE 3.8 Formation of a polyacrylamide gel. A three-dimensional mesh is formed by copolymerizing activated monomer (blue) and cross-linker (red).

## Slide 23: Staining of Proteins After Electrophoresis
Proteins separated by SDS-PAGE are visualized by staining the gel with dyes such as Coomassie blue.
Notes: FIGURE 3.9 Staining of proteins after electrophoresis. Mixtures of proteins from cellular extracts subjected to electrophoresis on an SDS–polyacrylamide gel can be visualized by staining with Coomassie blue. The first lane contains a mixture of proteins of known molecular weights, which can be used to estimate the sizes of the bands in the samples. [© Dr. Robert Farrell.]

## Slide 24: Electrophoresis can Determine Mass
The electrophoretic mobility of many proteins in SDS–polyacrylamide gels is inversely proportional to the logarithm of their mass.
Notes: FIGURE 3.10 Electrophoresis can determine mass. The electrophoretic mobility of many proteins in SDS–polyacrylamide gels is inversely proportional to the logarithm of their mass. [Data from K. Weber and M. Osborn, The Proteins, vol. 1, 3rd ed. (Academic Press, 1975), p. 179.]

## Slide 25: Isoelectric Focusing (1/2)
Isoelectric focusing allows separation of proteins in a gel on the basis of their relative amounts of acidic (lower-pKa) and basic (higher-pKa) amino acids.
  Asp and Glu, which have carboxyl groups, are uncharged when they are protonated.
  Lys, Arg, and His, which have various types of N-containing groups, are uncharged when deprotonated.
If a mixture of proteins is placed in a gel with a pH gradient and an electrical field is applied, each protein will migrate to its isoelectric point (pI), the pH at which it has no net charge.
  When they are uncharged, molecules always stop migrating during electrophoresis.

## Slide 26: Isoelectric Focusing (2/2)
Notes: FIGURE 3.11 The principle of isoelectric focusing. A pH gradient is established in a gel before loading the sample. (A) Each protein, represented by the different colored circles, will possess a net positive charge in the regions of the gel where the pH is lower than its respective pI value and a net negative charge where the pH is greater than its pI. When voltage is applied to the gel, each protein will migrate to its pI, the location at which it has no net charge. (B) The proteins form bands that can be excised and used for further experimentation.

## Slide 27: Two-dimensional Electrophoresis (1/2)
In two-dimensional gel electrophoresis, proteins are separated in one direction by isoelectric focusing.
This gel is then attached to an SDS-PAGE gel, and electrophoresis is performed at a 90o angle to the direction of the isoelectric focusing separation.

## Slide 28: Two-dimensional Electrophoresis (2/2)
Notes: FIGURE 3.12 Two-dimensional gel electrophoresis. (A) A protein sample is initially fractionated in one dimension by isoelectric focusing as described in Figure 3.11. The isoelectric focusing gel is then attached to an SDS–polyacrylamide gel, and electrophoresis is performed in the second dimension, perpendicular to the original separation. Proteins with the same pI are now separated on the basis of mass. (B) Proteins from E. coli were separated by two-dimensional gel electrophoresis, resolving more than a thousand different proteins. The proteins were first separated according to their isoelectric pH in the horizontal direction and then by their apparent mass in the vertical direction. [(B) Courtesy of Dr. Patrick H. O’Farrell.]

## Slide 29: Alterations in Protein Levels Detected by Two-dimensional Gel Electrophoresis
Two-dimensional electrophoresis can be used to detect differences in protein expression under different physiological circumstances.
Notes: FIGURE 3.13 Alterations in protein levels detected by two-dimensional gel electrophoresis. Samples of normal colon mucosa and colorectal tumor tissue from the same person were analyzed by two-dimensional gel electrophoresis. In the gel section shown, changes in the intensity of several spots are evident, including a dramatic increase in levels of the protein indicated by the arrow, corresponding to the enzyme glyceraldehyde-3-phosphate dehydrogenase. [Courtesy of Lin Quinsong © 2010, The American Society for Biochemistry and Molecular Biology.]

## Slide 30: A Protein Purification Scheme can be Quantitatively Evaluated
The effectiveness of a purification scheme is measured by calculating the specific activity after each separation technique.
Specific activity is the ratio of enzyme activity to total protein concentration. Specific activity should increase with each step of the purification procedure since total protein is being removed while desired enzyme is being retained.
SDS-PAGE allows a visual evaluation of the purification scheme.

## Slide 31: Quantification of a Purification Protocol for a Fictitious Enzyme

## Slide 32: Electrophoretic Analysis of a Protein Purification
Notes: FIGURE 3.14 Electrophoretic analysis of a protein purification. The purification scheme in Table 3.1 was analyzed by SDS-PAGE. Each lane contained 50 μg of sample. The effectiveness of the purification can be seen as the band for the protein of interest becomes more prominent relative to other bands.

## Slide 33: Ultracentrifugation is Valuable for Separating Biomolecules and Determining Their Masses
Ultracentrifugation can be used to examine proteins. When subjected to a centrifugal force, the rate of movement of a particle is defined by the sedimentation coefficient, s
where m = the mass, = the partial specific volume (or one over the mass of the particle, ρ = the density of the medium, and ƒ = the frictional coefficient of the particle.

## Slide 34: Sedimentation Coefficients
Sedimentation coefficients are usually expressed as Svedberg units (S), equal to 10−13 s.
The smaller the S value, the slower the protein moves in a centrifugal field.

## Slide 35: Density and Sedimentation Coefficients of Cellular Components
Notes: FIGURE 3.15 Density and sedimentation coefficients of cellular components. [Data from L. J. Kleinsmith and V. M. Kish, Principles of Cell and Molecular Biology, 2d ed. (HarperCollins, 1995), p. 138.]

## Slide 36: Zonal Centrifugation (1/2)
In zonal, or gradient, centrifugation, a density gradient is formed in a centrifuge tube and a mixture of proteins in solution is placed on top of the gradient.
After the centrifugation is complete, a small hole is made in the bottom of the tube and portions of the gradient are collected. These portions are analyzed for protein concentration, enzyme activity, or other biochemical characteristics

## Slide 37: Zonal Centrifugation (2/2)
Notes: FIGURE 3.16 Zonal centrifugation. The steps are as follows: (A) form a density gradient, (B) layer the sample on top of the gradient, (C) place the tube in a swinging bucket rotor and centrifuge it, and (D) collect the samples. [Information from D. Freifelder, Physical Biochemistry, 2nd ed. (W. H. Freeman and Company, 1982), p. 397.]

## Slide 38: Protein Purification can be Made Easier with the Use of Recombinant DNA Technology
Large quantities of proteins can be obtained.
Proteins can be modified with affinity tags that allow purification of the protein or visualization of the protein in the cell.
Proteins with modified primary structure can be generated.

## Slide 39: Section 3.2 Immunology Provides Important Techniques with Which to Investigate Proteins
Antibodies to specific proteins can be generated.
An antibody is a protein synthesized in response to the presence of a foreign substance called an antigen.
The antibody recognizes a particular structural feature on the antigen called the antigenic determinant or epitope.

## Slide 40: Antibody Structure
Notes: FIGURE 3.17 Antibody structure. (A) Immunoglobulin G (IgG) consists of four chains, two heavy chains (blue) and two light chains (red), linked by disulfide bonds. The heavy and light chains come together to form Fab domains, which have the antigen-binding sites at the ends. The two heavy chains form the Fc domain. Notice that the Fab domains are linked to the Fc domain by flexible linkers. (B) A more schematic representation of an IgG molecule. [Drawn from 1IGT.pdb.]

## Slide 41: Antigen–antibody Interactions
Notes: FIGURE 3.18 Antigen–antibody interactions. A protein antigen (in this case, lysozyme) binds to the end of an Fab domain of an antibody. Notice that the end of the antibody and the antigen have complementary shapes, allowing a large amount of surface to be buried on binding. [Drawn from 1YQV.pdb.]

## Slide 42: Antibodies to Specific Proteins can be Generated
Any antibody-producing cell synthesizes antibodies that recognize only one epitope. Each antibody-producing cell thus synthesizes a monoclonal antibody.
Any antigen may have multiple epitopes. The antibodies produced to the antigen by different cells are said to be polyclonal.

## Slide 43: Polyclonal and Monoclonal Antibodies
Notes: FIGURE 3.19 Polyclonal and monoclonal antibodies. Most antigens have several epitopes. Polyclonal antibodies are heterogeneous mixtures of antibodies, each specific for one of the various epitopes on an antigen. Monoclonal antibodies are all identical, produced by clones of a single antibody-producing cell. They recognize one specific epitope. [Information from R. A. Goldsby, T. J. Kindt, and B. A. Osborne, Kuby Immunology, 4th ed. (W. H. Freeman and Company, 2000), p. 154.]

## Slide 44: Monoclonal Antibodies with Virtually any Desired Specificity can be Readily Prepared
Immortal cell lines producing monoclonal antibodies can be generated by fusing normal antibody-producing cells with cells from a type of cancer called multiple myeloma.
A monoclonal cell line is isolated by screening for the antibody of interest.

## Slide 45: Preparation of Monoclonal Antibodies
Notes: FIGURE 3.20 Preparation of monoclonal antibodies. Hybridoma cells are formed by the fusion of antibody-producing cells and myeloma cells. The hybrid cells are allowed to proliferate by growing them in selective medium. They are then screened to determine which ones produce antibody of the desired specificity. [Information from C. Milstein. Monoclonal antibodies. Copyright © 1980 by Scientific American, Inc. All rights reserved.]

## Slide 46: Example: Use of a Monoclonal Antibody to Detect a DNA-binding Protein in a Fruit Fly Embryo
Notes: FIGURE 3.21 Fluorescence micrograph of a developing Drosophila embryo. The embryo was stained with a fluorescence-labeled monoclonal antibody for the DNA-binding protein encoded by engrailed, an essential gene in specifying the body plan. [Courtesy of Dr. Nipam Patel and Dr. Corey Goodman.]

## Slide 47: Proteins can be Detected and Quantified by Using an Enzyme-linked Immunosorbent Assay
Antibodies can be used as a reagent to quantify the amount of a protein or other antigen.
Enzyme-linked immunosorbent assay (ELISA) quantifies the amount of protein present because the antibody is linked to an enzyme that produces a readily identified colored product.

## Slide 48: Indirect ELISA and Sandwich ELISA
Notes: FIGURE 3.22 Indirect ELISA and sandwich ELISA. (A) In indirect ELISA, the production of color indicates the amount of an antibody to a specific antigen. (B) In sandwich ELISA, the production of color indicates the quantity of antigen. [Information from R. A. Goldsby, T. J. Kindt, and B. A. Osborne, Kuby Immunology, 4th ed. (W. H. Freeman and Company, 2000), p. 162.]

## Slide 49: Western Blotting Permits the Detection of Proteins Separated by Gel Electrophoresis
In western blotting, or immunoblotting, proteins are separated in an SDS-PAGE gel, transferred to a polymer, and then stained with an antibody specific for the protein, called the primary antibody. At this stage, the protein is still not readily detectable.
A second antibody, the secondary antibody, specific for the first antibody is then added.
The secondary antibody is attached to an enzyme that generates a chemiluminescent product or contains a fluorescently labeled tag, thereby allowing the detection of the primary antibody and revealing the location of the protein of interest.

## Slide 50: Western Blotting
Notes: FIGURE 3.23 Western blotting. Proteins on an SDS–polyacrylamide gel are transferred to a polymer sheet. The sheet is first treated with a primary antibody, which is specific for the protein of interest, and then washed to remove unbound antibody. Next, the sheet is treated with a secondary antibody, which recognizes the primary antibody, and washed again. Since the secondary antibody is labeled (here, with a fluorescent tag indicated by the yellow circle), the band containing the protein of interest can be identified.

## Slide 51: Co-immunoprecipitation Enables the Identification of Binding Partners of a Protein
When a monoclonal antibody against a specific protein is available, it is also possible to determine the binding partners of that protein under cellular conditions.
In co-immunoprecipitation, a cell extract is incubated with the antibody; then agarose beads coated with an antibody-binding protein (e.g., Protein A) are added to the mixture.
The antibody-bound protein complex can be separated from all other cellular components.
The identity of other bound protein partners can then be probed by other methods.

## Slide 52: Co-immunoprecipitation
Notes: FIGURE 3.24 Co-immunoprecipitation. An antibody specific for a particular protein (here, the red oval) is added to an extract isolated from cells or tissue. After an incubation period, agarose beads coated with Protein A are added and the mixture is subjected to low-speed centrifugation. The beads bind to the antibody-protein complex and precipitate. Any additional proteins that interact with the target protein (here, the yellow rectangle) will also precipitate and can be identified by SDS-PAGE followed by western blotting or mass spectrometry.

## Slide 53: Fluorescent Markers Make the Visualization of Proteins in the Cell Possible
Fluorescently labeled antibodies to particular proteins, coupled with fluorescence microscopy, allow the cellular location of proteins to be determined.
Green fluorescent protein can also be used to tag cellular proteins and to follow their movement in the cell.
Antibodies labeled with clusters of electron dense metal can be used in electron microscopy.

## Slide 54: Fluorescence Micrograph of Actin Filaments
Notes: FIGURE 3.25 Actin filaments. Fluorescence micrograph of a cell shows actin filaments stained green using an antibody specific to actin. [David Becker/Science Source.]

## Slide 55: Nuclear Localization of a Steroid Receptor, Made Visible by Attachment to a Yellow Variant of GFP
Notes: FIGURE 3.26 Nuclear localization of a steroid receptor. (A) The mineralocorticoid receptor, made visible by attachment to a yellow variant of GFP, is located predominantly in the cytoplasm of the cultured cell. (B) Subsequent to the addition of corticosterone (a glucocorticoid steroid that also binds to the mineralocorticoid receptor), the receptor moves into the nucleus. [M. Nishi, M. Tanaka, K.-i. Matsuda, M. Sunaguchi, and M. Kawata. J. Neurosci. 24:4918–4927, 2004, Fig. 7A.]

## Slide 56: Immunoelectron Microscopy has Very Fine Spatial Resolution
Notes: FIGURE 3.27 Immunoelectron microscopy. The opaque particles (150-Å, or 15-nm, diameter) in this electron micrograph are clusters of gold atoms bound to antibody molecules. A gold-labeled antibody against a channel protein (Section 13.4) identifies membrane vesicles at the termini of neurons that contain this protein. [Courtesy of Dr. Peter Sargent.]

## Slide 57: Section 3.3 Mass Spectrometry Is a Powerful Technique for the Identification of Peptides and Proteins
Mass spectrometry allows the highly accurate and sensitive detection of the mass of the molecule of interest, or analyte.
Mass spectrometers convert the analyte into gas-phase ions. The mass-to-charge ratio (m/z) can be determined.
Mass spectrometers consist of three components: an ion source, a mass analyzer, and a detector.
Matrix-assisted laser desorption/ionization (MALDI) is often combined with a time-of-flight (TOF) detector.

## Slide 58: MALDI-TOF Mass Spectrometry
Notes: Figure 3.28 MALDI-TOF mass spectrometry. (1) The protein sample, embedded in an appropriate matrix, is ionized by the application of a laser beam. (2) An electric field accelerates the ions through the flight tube toward the detector. (3) The lightest ions arrive first. (4) The ionizing laser pulse also triggers a clock that measures the time of flight (TOF) for the ions. [Information from J. T. Watson, Introduction to Mass Spectrometry, 3rd ed. (Lippincott-Raven, 1997), p. 279.]

## Slide 59: MALDI-TOF Mass Spectrum of Insulin and β-lactoglobulin
Notes: FIGURE 3.29 MALDI-TOF mass spectrum of insulin and β-lactoglobulin. A mixture of 5 pmol each of insulin (I) and β-lactoglobulin (L) was ionized by MALDI, which produces predominantly singly charged molecular ions from peptides and proteins—the insulin ion (I+H)+ and the lactoglobulin ion (L+H)+. Molecules with multiple charges, such as those for β-lactoglobulin indicated by the blue arrows, as well as small quantities of a singly charged dimer of insulin (2 I+H)+ also are produced. [Data from J. T. Watson, Introduction to Mass Spectrometry, 3rd ed. (Lippincott-Raven, 1997), p. 282.]

## Slide 60: Peptides can be Sequenced by Edman Degradation
Although mass spectrometry has replaced most chemical methods for determining amino acid sequence, it is illustrative to examine a once popular chemical method, the Edman degradation.
The amino acid sequence of a protein can be determined by Edman degradation. The protein is exposed to phenyl isothiocyanate (PTH), which reacts with the N-terminal amino acid to form a PTH derivative. The PTH–amino acid can be released without cleaving the remainder of the protein, and the degradation is subsequently repeated.
High-performance liquid chromatography is used to identify the amino acids.

## Slide 61: The Edman Degradation
Notes: FIGURE 3.30 The Edman degradation. The labeled amino-terminal residue (PTH–alanine in the first round) can be released without hydrolyzing the rest of the peptide. Hence, the amino-terminal residue of the shortened peptide (Gly-Asp-Phe-Arg-Gly) can be determined in the second round. Three more rounds of the Edman degradation reveal the complete sequence of the original peptide.

## Slide 62: Peptide Sequencing is Now More Commonly Performed by Tandem Mass Spectrometry
Notes: FIGURE 3.31 Peptide sequencing by tandem mass spectrometry. (A) Within the mass spectrometer, peptides can be fragmented by bombardment with inert gaseous ions to generate a family of product ions in which individual amino acids have been removed from one end. In this example, the carboxyl fragment of the cleaved peptide bond is ionized. (B) The product ions are detected in the second mass analyzer. The mass differences between the peaks indicate the sequence of amino acids in the precursor ion. [Data from H. Steen and M. Mann. Nat. Rev. Mol. Cell Biol. 5:699–711, 2004.]

## Slide 63: Proteins can be Specifically Cleaved into Small Peptides to Facilitate Analysis
Because the reactions of the Edman degradation and mass spectrometry procedure are not 100% effective, it is not possible to sequence polypeptides longer than 50 amino acids.
To sequence the entire protein, the protein is chemically or enzymatically cleaved to yield peptides of fewer than 50 amino acids.
The peptides are then ordered by performing a different cleavage procedure to generate overlap peptides.

## Slide 64: Specific Cleavage of Polypeptides

## Slide 65: Overlap Peptides
Notes: FIGURE 3.32 Overlap peptides. The peptide obtained by chymotryptic digestion overlaps two tryptic peptides, establishing their order.

## Slide 66: Extra Steps are Required for the Determination of the Disulfide Bonds
Disulfide bonds are cleaved by the addition of a reducing agent.
Disulfide-bond reformation is prevented by the alkylation of the cysteine residues.
Notes: FIGURE 3.33 Disulfide-bond reduction. Polypeptides linked by disulfide bonds can be separated by reduction with dithiothreitol followed by alkylation to prevent them from re-forming.

## Slide 67: Genomic and Proteomic Methods are Complementary
Even with today’s techniques, determining the amino acid sequence of a protein is sometimes a challenge.
Genomic techniques that reveal the DNA sequence of the gene encoding a protein also allow determination of the amino acid sequence.
Notes: FIGURE 3.34 DNA sequence yields the amino acid sequence. The complete nucleotide sequence of HIV-1 (human immunodeficiency virus), the cause of AIDS (acquired immune deficiency syndrome), was determined within a year after the isolation of the virus. A part of the DNA sequence specified by the RNA genome of the virus is shown here with the corresponding amino acid sequence (deduced from a knowledge of the genetic code).

## Slide 68: The Amino Acid Sequence can Provide a Wealth of Information as to the Protein’s Structure, Function, and History
Amino acid sequences of proteins can be compared to identify similarities.
Comparison of the sequence of the same protein from different species yields evolutionary information.
Amino acid sequence searches can reveal the presence of internal repeats.
Sequencing information can identify signals that determine the location of the protein or processing signals.
Sequence information can be used to generate antibodies for the protein.
Amino acid sequence can be used to generate DNA probes specific for the gene encoding the protein.

## Slide 69: Repeating Motifs in a Protein Chain
Notes: FIGURE 3.35 Repeating motifs in a protein chain. Calmodulin, a calcium sensor, contains four similar units (shown in red, yellow, blue, and orange) in a single polypeptide chain. Notice that each unit binds a calcium ion (shown in green). [Drawn from 1CLL.pdb.]

## Slide 70: Individual Proteins can be Identified by Mass Spectrometry
Specific protein cleavage, followed by separation of the resulting peptides and mass spectrometry, allows the identification of individual proteins.
This technique for protein identification is called peptide mass fingerprinting.

## Slide 71: Proteomic Analysis by Mass Spectrometry
Example: yeast nuclear core complex proteins
Notes: FIGURE 3.36 Proteomic analysis by mass spectrometry. This mass spectrum was obtained by analyzing a trypsin-treated band in a gel derived from a yeast nuclear-pore sample. Many of the peaks were found to match the masses predicted for peptide fragments from three proteins (Nup120p, Kap122p, and Kap120p) within the yeast genome. The band corresponded to an apparent molecular mass of 100 kDa. [Data from M. P. Rout, J. D. Aitchison, A. Suprapto, K. Hjertaas, Y. Zhao, and B. T. Chait. J. Cell Biol. 148:635–651, 2000.]

## Slide 72: Section 3.4 Peptides Can Be Synthesized by Automated Solid-Phase Methods
Main purposes for synthesizing peptides:
  As antigens to produce antibodies
  To isolate receptors
    Example: synthetic peptides containing formylmethionine (fMet) have been used to identify receptors on white blood cells.
  As drugs
  To understand protein folding

## Slide 73: Vasopressin and a More Stable Synthetic Vasopressin Analog
Notes: FIGURE 3.37 Vasopressin and a synthetic vasopressin analog. Structural formulas of (A) vasopressin, a peptide hormone that stimulates water resorption, and (B) 1-desamino-8-D-arginine vasopressin, a more stable synthetic analog of this antidiuretic hormone.

## Slide 74: In Peptide Synthesis, it is Necessary to Block Some Groups and to Activate Others to Prevent Unwanted Reactions
Synthetic peptides are synthesized in a stepwise fashion with the carboxyl terminus of the growing chain attached to an inert matrix.
t-Boc blocks the amino group of the incoming amino acid, and DCC facilitates peptide bond formation.

## Slide 75: Solid-phase Peptide Synthesis
Notes: FIGURE 3.38 Solid-phase peptide synthesis. The sequence of steps in solid-phase synthesis is (1) anchoring of the C-terminal amino acid to a solid resin, (2) deprotection of the amino terminus, and (3) coupling of the free amino terminus with the DCC-activated carboxyl group of the next amino acid. Steps 2 and 3 are repeated for each added amino acid. Finally, in step 4, the completed peptide is released from the resin.

## Slide 76: Section 3.5 Three-Dimensional Protein Structure Can Be Determined by X-ray Crystallography, NMR Spectroscopy, and Cryo-Electron Microscopy
X-ray crystallography reveals three-dimensional structure in atomic detail.
Crystals of proteins are irradiated with x-rays.
  Electrons of the atoms scatter x-rays.
  The scattered waves recombine.
  The way in which the scattered x-rays recombine reveals the atomic arrangement.

## Slide 77: An X-ray Crystallographic Experiment
Notes: FIGURE 3.39 An x-ray crystallographic experiment. An x-ray source generates a beam, which is diffracted by a crystal. The resulting diffraction pattern is collected on a detector.

## Slide 78: An X-ray Diffraction Pattern
Notes: FIGURE 3.40 An x-ray diffraction pattern. A protein crystal diffracts x-rays to produce a pattern of spots, or reflections, on the detector surface. The white silhouette in the center of the image is from a beam stop that protects the detector from the intense, undiffracted x-rays. [S. Lansky, O. Alalouf, V. Solomon, A. Alhassid, L. Govada, N. E. Chayan, H. Belrhali, Y. Shoham, and G. Shoham. Acta Cryst. F69:430–434, 2013, Fig. 2.]

## Slide 79: Interpretation of an Electron-density Map
Notes: FIGURE 3.41 Interpretation of an electron-density map. (A) A segment of an electron-density map is drawn as a three-dimensional contour plot in which the regions inside the “cage” represent the regions of highest electron density. (B) A model of the protein is built into this map to maximize the placement of atoms within this density. [Drawn from 1FCH.pdb.]

## Slide 80: Resolution Affects the Quality of the Electron Density Map
Notes: FIGURE 3.42 Resolution affects the quality of the electron density map. The electron density maps of a tyrosine residue at four different resolution levels (1.0 Å, 2.0 Å, 2.7 Å, and 3.0 Å) are shown. At the lower resolution levels (2.7 Å and 3.0 Å), only a group of atoms corresponding to the side chain is visible, whereas at the highest resolution (1.0 Å), individual atoms within the side chain are distinguishable. [Data from www.rcsb.org/pdb/101/static101.]
do?p=education_discussion/Looking-at- Structures/resolution.html.]

## Slide 81: Nuclear Magnetic Resonance Spectroscopy can Reveal the Structures of Proteins in Solution
NMR is based on the fact that certain atomic nuclei are intrinsically magnetic and can exist in two spin states when an external magnetic field is applied.
The nuclei of the sample absorb electromagnetic radiation at different frequencies termed chemical shifts.
The chemical shifts depend on the environment of the nuclei, and the environment depends on protein structure.
One-dimensional NMR reveals changes to a particular chemical group under different conditions.
Two-dimensional NMR (NOESY) displays groups that are in close proximity.

## Slide 82: Biologically Important Nuclei Giving NMR Signals

## Slide 83: Basis of NMR Spectroscopy
Notes: FIGURE 3.43 Basis of NMR spectroscopy. The energies of the two orientations of a nucleus of spin 1/2 (such as 31P and 1H) depend on the strength of the applied magnetic field. Absorption of electromagnetic radiation of appropriate frequency induces a transition from the lower to the upper level.

## Slide 84: One-dimensional NMR Spectra
Notes: FIGURE 3.44 One-dimensional NMR spectra. (A) 1H-NMR spectrum of ethanol (CH3CH2OH) shows that the chemical shifts for the hydrogen are clearly resolved. (B) 1H-NMR spectrum of a 55 amino acid fragment of a protein having a role in RNA splicing shows a greater degree of complexity. A large number of peaks are present, and many overlap. [(A) Data from C. Branden and J. Tooze, Introduction to Protein Structure (Garland, 1991), p. 280; (B) courtesy of Dr. Barbara Amann and Dr. Wesley McDermott.]

## Slide 85: The Nuclear Overhauser Effect (NOE) Identifies Pairs of Protons that are in Close Proximity
Notes: FIGURE 3.45 The nuclear Overhauser effect. The nuclear Overhauser effect (NOE) identifies pairs of protons that are in close proximity. (A) Schematic representation of a polypeptide chain highlighting five particular protons. Protons 2 and 5 are in close proximity (~4 Å apart), whereas other pairs are farther apart. (B) A highly simplified NOESY spectrum. The diagonal shows five peaks corresponding to the five protons in part A. The peak above the diagonal and the symmetrically related one below reveal that proton 2 is close to proton 5.

## Slide 86: A NOESY Spectrum
Notes: FIGURE 3.46 Detecting short proton–proton distances. A NOESY spectrum for a 55 amino acid domain from a protein having a role in RNA splicing. Each off-diagonal peak corresponds to a short proton–proton separation. This spectrum reveals hundreds of such short proton–proton distances, which can be used to determine the three-dimensional structure of this domain. [Courtesy of Dr. Barbara Amann and Dr. Wesley McDermott.]

## Slide 87: Structures Calculated on the Basis of NMR Constraints
Notes: FIGURE 3.47 Structures calculated on the basis of NMR constraints. (A) NOESY observations show that protons (connected by dotted red lines) are close to one another in space. (B) A three-dimensional structure calculated with these proton pairs constrained to be close together.

## Slide 88: A Family of Structures Derived from NMR Experiments
Notes: FIGURE 3.48 A family of structures. A set of 25 structures for a 28 amino acid domain from a zinc-finger-DNA-binding protein. The red line traces the average course of the protein backbone. Each of these structures is consistent with hundreds of constraints derived from NMR experiments. The differences between the individual structures are due to a combination of imperfections in the experimental data and the dynamic nature of proteins in solution. [Courtesy of Dr. Barbara Amann.]

## Slide 89: Cryo-electron Microscopy is an Emerging Method of Protein Structure Determination
To perform cryo-EM, a thin layer of the protein solution is prepared in a fine grid, then frozen very quickly. This traps the molecules in an ensemble of orientations.
The sample is then placed in a transmission electron microscope under vacuum conditions and exposed to an incident electron beam.
Each protein interacts with the beam to produce a two-dimensional projection on the detector.
Many projections are detected, each capturing a molecule in a different orientation. A computer uses these projections to build a three-dimensional representation of the protein.

## Slide 90: Projections of a Multimeric Protein Captured by Cryo-EM
Notes: FIGURE 3.49 Projections of a multimeric protein captured by cryo-EM. The projections detected in a cryo-EM experiment represent two-dimensional images of the protein trapped in various orientations. Three such projections of the tetrameric protein TRPV1 are shown in (A). Collection of many such projections enables the reconstruction of a three-dimensional model of the protein, as depicted in (B). [(A) Reprinted by permission from Macmillan Publishers Ltd. Images from M. Liao, et al. Nature, 504, 107–112, 2013, Fig. 1c; (B) Drawn from 3J5P.pdb.]