C4 & C18 ZipTip Protocol

Wet and Equilibrate Tip

- Aspirate and Dispense(wash) tip 3 times with 10(L of acetonitrile

- Wash 3 times with 50% acetonitrile/0.1% TFA

- Wash 4 times with 0.1% TFA

# Sample Binding

- Bind 2-10(L of sample by cycling(aspirate-dispense-aspirate-dispense) 5 times (IMPORTANT: Be sure no organic solvent is present in sample)

- Wash 3-4 times with 10(L 0.1% TFA

# Eluting

- Elute with 1.5-5(L of 60% acetonitrile/0.1% TFA (For MALDI and most applications) Tip: Elute with your matrix solution directly onto sample plate