| Winthrop University | STANDARD OPERATING PROCEDURE | Procedure No 5 |
| --- | --- | --- |
| Dept of Chemistry, Physics and Geology | Bacterial Plasmid Isolation by Alkaline Lysis Miniprep | Page |
|  |  | 1-3 |
| Prepared By Date Jason C. Hurlbert July 4, 2010 |

- OBJECTIVE

The goal of this SOP is to train personnel in the isolation of plasmid DNA from bacterial cultures (< 5 mL of overnight culture)

- MATERIALS NEEDED

  - TE Buffer

| Stock Concentration | From Stock(for 50ml) | Final Concentration |
| --- | --- | --- |
| 1M Tris (pH 8.0) | 0.5 ml | 10 mM |
| 5M NaCl | 1 ml | 100 mM |
| 0.5M EDTA (pH 8.0) | 0.1 ml | 1 mM |

  - Lysis Solution 1

| Stock Concentration | From Stock(for 50ml) | Final Concentration |
| --- | --- | --- |
| 1M Tris (pH 8.0) | 1.0 ml | 10 mM |
| Glucose (FW: 108.20 g/mole) | 0.45 g | 20 mM |
| 0.5M EDTA (pH 8.0) | 0.1ml | 1 mM |

  - Lysis Solution II

| Stock Concentration | From Stock(for 10ml) | Final Concentration |
| --- | --- | --- |
| 5N NaOH | 0.4 ml | 0.2 N |
| 10% (w/v) SDS | 1 ml | 1% (w/v) |
| dH2O | 8.6 ml | --- |

  - Lysis Solution III

| Stock Concentration | From Stock(for 50ml) | Final Concentration |
| --- | --- | --- |
| 5M Potassium Acetate | 30 ml | 3M |
| Glacial Acetic Acid | 5.75 ml | 5M |
| dH2O | 14.25 ml | --- |

  - Ice cold Isopropanol, ice cold 70% ethanol, overnight bacterial culture

- EQUIPMENT NEEDED

  - Microcentrifuge tubes, microcentrifuge, ice bucket, benchtop centrifuge

- PROCEDURE

  - Inoculate 2-5 ml Luria-Bertani medium (+ antibiotics) with a single colony and incubate with shaking for 12 hrs (overnight) at 37°C.

  - Pellet the cells by centrifugation.

    - If using 5 ml cultures and a benchtop centrifuge, pellet the cells by centrifuging at 5000 rpm for 20 minutes at 4C.

    - If using a microcentrifuge, transfer 1 ml of culture to a microcentrifuge tube and pellet the cells by centrifuging at maximum speed for 5 minutes at 4°C.

  - Gently aspirate out the supernatant and discard it.

    - Leave pellet as dry as possible.

  - Add 100 µl of Lysis Buffer I.  Resuspend pellet by vortexing/by shaking vigorously.

  - Add 200 µl of Lysis Buffer II.  Close the tube tightly and gently invert the tube 5 - 6 times.

    - Do not vortex or you may shred the DNA!

  - Store the tube on ice.

  - Add 300 µl of Lysis Buffer III  Close the tube tightly and gently mix the contents by inverting the tube.

  - Incubate on ice for 5 mins.

  - Centrifuge at maximum speed for 5 mins at 4°C and aspirate out the top layer.
Transfer top aqueous layer into microcentrifuge tube.  Discard bottom layer (white precipitate).

  - Measure out 900 µl of isopropanol into a microcentrifuge tube.  Vortex the mixture for a few seconds.

  - Centrifuge at maximum speed for 10 minutes at room temperature, gently aspirate out the supernatant and discard it.

  - Add 1 ml of 70% EtOH.  Vortex the mixture for a few seconds.

  - Centrifuge at maximum speed for 5 mins at room temperature, gently aspirate out the supernatant and discard it.

  - Dry the pellet in air.

  - Option 1: Add 50 µl of TE. (or)  Option 2: Add 50 µl of water.

  - Dissolve the pellet in the solution.

- SAFETY

Wear gloves throughout the procedure.  Do not leave the centrifuge when running until it has reached the maximum programmed speed.  Do not use isopropanol or ethanol around open flame.

| Name Jason C. Hurlbert | Date |
| --- | --- |
| Signature |  |