| Measuring the speed of sound with an Xplorer GLX. |
| --- |
| Affected Products: |
|  | PS-2002 Xplorer GLX |
| Problem/Symptom: | Measuring the speed of sound with an Xplorer GLX. |
| PASCO Solution: | Procedure for Measuring an Echo with the GLX Note: "//" represents the home screen. Navigate to //Sensors (F4)/Microphone (F3)/Sound Sensor. Increasing the sampling rate to 50,000 Hz. Navigate to //Graph/Graphs(F4)/Scope Mode (3). Click /Tools (F3)/Trigger (8) Press the right button, to set the trigger on a rising edge. Press the up button to move the trigger to 30000. Get a 1.5 m - 3 m long tube such as the WA-9495 Economy Resonance Tube. Place a hard (stone, glass, steel, or melamine) plate at one end of the tube in order to provide a reflecting surface. Select a clicker, i.e., a sound source that produces a brief sound with ultrasonic components. Snapping works well. Breaking bubble pack bubbles works even better. With the GLX in one hand and the clicker in the other, both at the end of the tube opposite the clicker, press the play button to arm the GLX. Click. After 10 seconds, press the play button again to stop the data acquisition. You should see the initial waveform and at least one other echo. You will probably need to expand the x-axis. Press the Scale/Move (F2) button to enter the scale-mode. Use the right button to expand the x axis. |